# Addition to products: new consent

# Safety assessment template
Complete this template and upload it to the Health and Safety Executive (HSE) when you apply for consent using the RADAN online service. You can access the service from the HSE website at www.hse.gov.uk/radiation/ionising/notify.html

This template will form part of your safety assessment along with your local rules and contingency plan.

You can find guidance on safety assessments and templates for other work practices on HSE’s website at www.hse.gov.uk/radiation/ionising/safety-assessment.htm

Read the guidance for each section and enter the information required in the expanding text boxes.

## Section 1

Give a general summary of the type of addition of radioactive substances to be performed and the location(s) at which the practice will be performed.

You should give details of the types of radioactive sources to be used, the radionuclides, their maximum activities and the locations.

## Section 2

Give a summary of the arrangements for managing radiation protection. ‘Radiation’ refers to ionising radiation throughout this document.

Specify the radiation protection responsibilities and duties of management with clear lines of reporting established.

It is not sufficient to rely on the Radiation Protection Supervisor (RPS) and Radiation Protection Adviser (RPA) for the management of radiation protection. You should provide evidence to show that you will manage radiation protection at a senior level. You should also give details of how RPSs will be given sufficient time and resources to supervise the work so that it done in accordance with local rules.

## Section 3

Give details of the:
- frequency of additions, including the projected maximum number of occasions additions are carried out per year at each location
- radioactive substances to be used, or likely to be used

Give details of the nature of other sources of radiation those engaged in the practice are likely to be exposed to, including:
- information on the accumulation of radon in the working environment - the results of the risk assessment for radon
- details of other sources of radiation those engaged in work with the administration are likely to be exposed to

## Section 4

Give estimates and/or measurements of the radiation dose rates to which anyone can be exposed.

You must provide estimates and/or measurements of the dose rates that employees and others could be exposed to during both routine operations and in the event of any reasonably foreseeable radiation accident. This will include the maximum dose rates and contamination levels to which employees and members of the public could be exposed to at each location. These estimates/measurements must show that dose rates do not exceed 7.5Svh-1 outside of the controlled/immediate area.

Provide all the relevant exposure categories:
- effective dose
- equivalent dose
  - extremities
  - skin
  - eyes
- committed effective dose
- measurements/estimates of annual exposures to:
  - employees
  - other persons
  - members of the public

Consent will not be granted if HSE do not consider these as low as reasonably practicable (ALARP).

You can find out more in publication L121, which you can download at www.hse.gov.uk/pubns/books/l121.htm.

## Section 5

Give a summary of the engineering control measures and design features already in place or planned.

Engineering control measures and design features include but are not limited to:
- mechanical and electrical interlocks
- barriers
- control panels
- emergency stop arrangements
- contamination control measures
- access restriction or prevention measures
- washing and changing facilities
- monitoring stations
- video equipment

In all cases, you should give their type and numbers and mode of operation and their location marked on a sketch plan of the facility(s) .

These sketch plans must also show the type and nature of any radiation shielding and the location of where the addition(s) and associated work will take place.

You should describe/indicate designated controlled and supervised areas on the plan.

This is to show compliance with the requirements of the IRR17, regulation 9 (Restriction of Exposure), associated with the work practice. You can find guidance on this regulation in publication L121, which you can download at www.hse.gov.uk/pubns/books/l121.htm.

## Section 6

Give a summary of the proposed maintenance and test schedules for all safety critical controls such as interlocks, control panels and other safety features.

Include the maintenance schedules and testing regimes for all the items referenced in Section 5.

State the pass/fail criteria and specify the routine and failure replacement regimes.

## Section 7

Give:
- a summary of and results of critical examinations that will be or have been conducted
- summary of any planned critical examinations and their pass/fail criteria

These are the requirements of IRR17, regulation 32(2). You can find out more about this regulation in publication L121, which you can download at www.hse.gov.uk/pubns/books/l121.htm.

## Section 8

Give a summary of the planned radiation dose rate and contamination monitoring regime for the facility(s) and its surroundings, including any areas which the public may have access to.

You should specify the radiation dose rate and contamination monitoring regimes and details of the instruments to be used. Of particular importance is the monitoring which confirms the shielding and contamination control methods are adequate and maintained.
Give information on how the:
- monitoring results will be reviewed, by whom
- records are kept and for how long

## Section 9

Give a summary of the personal dosimetry to be provided to employees and others, including:
- the type of dosemeter(s) – for example TLD, OSL, extremity, whole body
- details of the employee groups to whom they will be issued
- the issue periods – such as monthly or quarterly
- the name(s) of the approved dosimetry services to be used for assessment and record keeping
- details of any bioassay dosimetry
- the dosimetry management processes – including the issue, return, supervision, results review and by whom

## Section 10

Give the rationale for designating employees as classified persons.

Classification is dependent upon routine likely exposures and/or the likely exposures as a result of an accident or incident. In most circumstances HSE expects those employees directly involved in the addition of radioactive substances to be classified. If this is not the case you must provide an adequate justification.

This is to ensure compliance with Regulation 21 of the IRR17. You can find out more about this regulation in publication L121, which you can download at www.hse.gov.uk/pubns/books/l121.htm.

## Section 11

Give a summary of the radiological protection training that will be or has been provided to employees and other persons, including planned frequency and refresher training.

This must be sufficient to ensure that all those carrying out the addition or are likely to be affected by that work, have received the appropriate information, instruction and training to enable them to restrict their exposures to levels which are as low as reasonably practicable (ALARP).

This is to meet the requirements of regulation 15 of IRR17. You can find out more about this regulation and ALARP in publication L121, which you can download at www.hse.gov.uk/pubns/books/l121.htm.

## Section 12

Give a summary of the information that will be supplied to employees concerning their work with ionising radiations in connection with pregnancy and breast feeding and how you communicate this.

## Section 13

Give a summary of possible radiation accident situations as identified in the radiation risk assessment, their likelihood and potential severity.

This will include information on the consequences of possible failures of control or systems of work.

List all of the possible accidents identified as part of the radiation risk assessment. State their likelihood and give estimates of their potential severity. The latter will include:
- reasonable estimates of exposures to employees and members of the public in the event of the accident
- the likely exposures to those engaged in accident mitigation

## Section 14

Give evidence that you have considered whether the Radiation (Emergency Preparedness and Public Information) Regulations 2019 (REPPIR) apply and you have taken any action required by those regulations.

Where you have found that REPPIR does not apply, you must supply a justification.

If REPPIR does apply, add the hazard evaluation report to the safety assessment.

# Further information

The primary purpose of the submission of a safety assessment is to:
- enable the employer to determine if adequate safety arrangements are in place for the practice, as defined in the Ionising Radiations Regulations 2017 (IRR17)
- give an assurance to HSE that compliance with IRR17 is, or will, be achieved and maintained

Where you believe you cannot or do not meet HSE’s expectations for the content of the safety assessments you should explain why you consider this reasonable and appropriate.

Published: October 2023
Reference: SAT2n